Request for Proposal

Auramine Beqtaqari    Project

Steel Structures for Processing Plant (Concentrator) Buildings

- INTRODUCTION AND PROJECT DESCRIPTION

RMG Auramine LLC is a mining company currently undertaking the detailed engineering/construction of its Beqtaqari polymetallic concentrator and would like to receive the firm proposals to purchase the concentrator buildings’ (3 in total) steel structures. The concentrator will be located in southern Georgia (Eastern Europe), approximately 80 km southwest from capital         Tbilisi, near the town of Bolnisi. Site access will be via paved local roads. For general site location please refer to figure 1.

Auramine Beqtaqari

Site Location

Figure 1: RMG Auramine LLC, Concentrator site location

The present document covers and provides the minimum requirements and specifications needed for concentrator buildings’ steel structures requested by RMG Auramine LLC.

- COMMUNICATIONS AND SUBMISSIONS

All communications with respect to the RFP are to be directed to RMG Auramine LLC, by email to the below list of recipients:

| Recipient | Position | Contact email |
| --- | --- | --- |
| Vakhtang Abelishvili | Head of Capital Construction Department | +995 599704616 VAbelishvili@richmetalsgroup.com |
| Gvantsa Gvazava | Head of Procurement Group | +995 593308787 GGvazava@richmetalsgroup.com |

Complete, technical and commercial proposals to be submitted in electronic format.

- CLOSING DATE

Technical and Commercial Proposals to be sent no later than 22.11.2021

- SUBMISSIONS

All drawings, design, specifications and other data appended or related to it are the property of RMG Auramine LLC and are supplied only for the purpose of enabling each potential bidder to prepare and submit a proposal package. The information contained or referred to in the RFP documents or appended to it is not to be disclosed or released for any other use or purpose.

- PRICING

A sum with firm prices, in USD ($) or Euros (€), without subjected price escalation and exclusive of local taxes must be furnished for all items included in chapter 6 – Scope of delivery.

- SCOPE OF DELIVERY

The scope will cover the provision of complete steel structures in batches (to be assembled on site) according to specifications/drawings given in attached files:

- C22005-KМ1_IFC_Rev1

- C22005-KМ2_IFC_Rev1

- C22005-KМ3_IFC_Rev2

- C22005-KМ4_IFC_Rev0

Additionally, the following items are to be provided:

- Certificates of origin for structure materials, installation material, protective coats and painting;

- Certificate of quality for structure materials, installation material, protective coats and painting;

- Execution drawings;

- Mounting technology of the elements: preparation, tracing, assembling order, mounting order, equipment and working devices;

- Support methods ensuring the stability of the elements during intermediate mounting stages;

- Recommendation related to lifting devices;

- Indications regarding pre-assembling in the factory, storage, marking and assembling for transport, as well as loading schemes in transport devices.

- SITE AND OPERARIONS CONDITIONS

Seismicity Parameters

| Annual Exceedance Probability (AEP) | MSK-64 | PGA (g) |
| --- | --- | --- |
| 1:1,000 year (5% in 50 years) | 8 | 0.20 - 0.30 |
| 1:2,500 year (2% in 50 years) | 9 | 0.20 - 0.30 |
| 1:5,000 year (1% in 50 years) | 9 | 0.30 - 0.40 |

Maximum seismicity parameters from the table to be used – 0.4 g.

- SUBMISSION REQUEST

The proposal shall include the following information

  - Price Summary in form of filled out attached excel spreadsheet - Quotation Sheet_steel structures (plant building)

  - Detailed breakdown of price in form of filled Bill of Quantities. The vendor shall fill in rates and prices for all items described in the Bill of Quantities. Items for which no rate or price is entered shall be deemed covered by the other rates and prices in the Bill of Quantities. The rates and prices quoted by the vendor shall not be subject to adjustment during the performance of the Contract.

  - RMG Auramine LLC reserves the right to request the changes in building structures before written notice of commencement of production. In such case RMG Auramine LLC shall provide the original calculations executed in “Robot Structural Analysis 2017” as well as updated loads to structures. Based on received information the vendor shall update structural calculations and provide  respective drawings of the  recalculated structures in PDF and .DWG format as well as variation order calculated based on rates and prices given in the Bill of Quantities submitted in the Bid.

  - Shipping weight and dimensions.

  - Delivery time and place

  - Place of manufacturing

  - Delivery terms CFA or DDP Kazreti as optional

  - List of relevant references

- WORK EXCLUDED

The following items of work are specifically excluded from the Contractor’s Scope of Supply:

  - Erectiion, welding ….

Should the vendor wish to make any further exclusions this should be highlighted clearly in the proposal.