## Total
T
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | Administrative Building PBD-1 | ცალი | 1
2 | Outdoor lighting LPE-1 | ცალი | 1
3 | Main shield and power supply MDB-1 | ცალი | 1
4 | Operators Booth PDB-8 | ცალი | 1
5 | Railway overpass PDB-4 | ცალი | 1
6 | Fuel pump PBD-5 | ცალი | 1
7 | Fire pump PDB-2 | ცალი | 1
Total

## Administrative bilding
N | Name | BRAND NAME | MODEL DETAILS | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | nym-j 3 * 1,5 |  |  | m | 200
2 | nym-j 3 * 2,5 |  |  | m | 400
3 | Corrugated pipe 16mm |  |  | pc | 350
4 | Corrugated pipe 20mm |  |  | pc | 550
5 | Breaker 3 * 32a |  |  | pc | 3
6 | Breaker 16a |  |  | pc | 6
7 | Breaker 10a |  |  | pc | 2
8 | Differentiated relay 2 * 16 / 30ma |  |  | pc | 6
9 | 3 p indicator |  |  | pc | 3
10 | Set of electric shield auxiliary materials |  |  | pc | 1
11 | E-mail Shield 36 modul |  |  | pc | 1
12 | keyboard 1 |  |  | pc | 8
13 | keyboard 2 |  |  | pc | 1
14 | the rosette |  |  | pc | 32
15 | samontajo kolopi |  |  | pc | 51
16 | 5 * 1.5-2.5 20a |  |  | pc | 100
17 | led 600 * 600 40w |  |  | pc | 10
18 | led 10w |  |  | pc | 6
19 | led 15w ip65 |  |  | pc | 1
20 | Emergency light (with battery) 3w |  |  | pc | 2
21 | exit indicator (with battery) |  |  | pc | 1
22 | cat 6 s / ftp |  |  | m | 510
23 | comp rosettes |  |  | pc | 10
24 | Communication closet rack 21u |  |  | pc | 1
25 | pdu |  |  | pc | 2
26 | patch-panel cat6 ftp |  |  | pc | 2
27 | odf |  |  | pc | 1
28 | ups rasckmount 2000va |  |  | pc | 1
29 | 4mp warfocal 2.8-12mm |  |  | pc | 7
30 | nvr 8port |  |  | pc | 1
31 | hdd 4tb |  |  | pc | 3
32 | switch 24 port poe |  |  | pc | 1
33 | Set of consumables |  |  | pc | 1850
31 | Sum
| Unexpected cost | [6 empty] | 5%
| ჯამი | [7 empty] | 0
| Overhead cost | [6 empty] | 2%
| ჯამი | [7 empty] | 0
| Transport | [6 empty] | 3%
| ჯამი | [7 empty] | 0
| Profit | [6 empty] | 10%
ჯამი
| VAT | [6 empty] | 18%
Total

## External lighting
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | nyy-j 5 * 4 | m | 250
2 | nyy-j 5 * 6 | m | 1300
3 | nyy-j 5 * 10 | m | 520
4 | nyy-j 5 * 16 | m | 370
5 | Corrugated pipe (ground) 50mm | pc | 1600
6 | Trench 400 * 800 | pc | 1600
7 | Clay 8mm | m | 250
8 | Grounding track 1,5 * 02 | pc | 55
9 | Zolovana connector | pc | 55
10 | Outdoor lamp | pc | 32
11 | Pole h5 (distribution box) | pc | 32
12 | Spotlight (Explosive Safety) | pc | 18
13 | Pole with two mounts h5 | pc | 9
14 | Projector | pc | 12
15 | Pole with 6 brackets h12 | pc | 2
16 | Distribution box ip65 2p b10a | pc | 9
17 | Breaker 3 * 50a | pc | 2
18 | Breaker 3 * 32 | pc | 2
19 | Breaker 3 * 16 | pc | 1
20 | Breaker 3 * 10 | pc | 2
21 | Breaker 1 * 10 | pc | 1
22 | 3 p indicator | pc | 3
23 | Button on / off | pc | 5
24 | Comb 3p | pc | 3
25 | 600 * 600 * 200 electric shield | pc | 1
26 | Set of consumables for electric shield | pc | 1
27 | spending materials |  | 1
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total

## Main board and power
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | n2xh fe180 / e90 4 * 240 | მეტრი | 480
2 | n2xh fe180 / e90 4 * 185 | მეტრი | 80
3 | Corrugated pipe (ground) 110mm | მეტრი | 550
4 | Corrugated pipe (ground) 63mm | მეტრი | 1700
5 | Communication well 1000mm | ცალი | 7
6 | Trench 400 * 800 | ცალი | 1150
7 | Trench 1000 * 800 | ცალი | 300
8 | Active Mekhamrid | ცალი | 2
9 | Pole h16 | ცალი | 2
10 | Adapter | ცალი | 2
11 | Clay 8mm | მეტრი | 480
12 | Lightning detector | ცალი | 2
13 | Grounding track 1,5 * 02 | ცალი | 205
14 | Zolovana 40 * 4 | მეტრი | 1240
15 | Zolovana connector | ცალი | 285
16 | 400 * 400 for well grounding | ცალი | 2
17 | Connecting terminal | ცალი | 15
18 | Emergency shut-off button (explosive) | ცალი | 12
19 | Breaker 3 * 1000a | ცალი | 1
20 | Breaker 3 * 800a | ცალი | 2
21 | Breaker 3 * 630a | ცალი | 1
22 | Breaker 3 * 400a | ცალი | 4
23 | Breaker 3 * 160a | ცალი | 1
24 | Breaker 3 * 100a | ცალი | 1
25 | Breaker 3 * 63a | ცალი | 3
26 | Breaker 3 * 50a | ცალი | 1
27 | Breaker 3 * 32a | ცალი | 2
28 | Breaker 3 * 6a | ცალი | 1
29 | B klass voltage relief | ცალი | 1
30 | Transformer 800 * 5 | ცალი | 3
31 | Multimeter shield for installation | ცალი | 3
32 | Melting Guard Nest 3P | ცალი | 2
33 | Melting guard | ცალი | 6
34 | Indication lamp 220 v | ცალი | 6
35 | 4p-1000a | ცალი | 1
36 | 4p-800a | ცალი | 1
37 | 5 * 50 spilenzi salt | ცალი | 1
38 | 2000 * 650 + 150 * 600 electric shield | ცალი | 2
39 | 7 * 25 kvar | ცალი | 1
40 | 3 p indicator | ცალი | 3
41 | Button on / off | ცალი | 5
42 | Consumables for electric shield | ცალი | 2
43 | Transformer 630 | ცალი | 1 | [5 empty] | ?
44 | spending materials |  | 1
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total

## Operator booth
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | nyy 3 * 1,5 | m | 30
2 | nyy-j 3 * 2,5 | m | 50
3 | Corrugated pipe 16mm | pc | 20
4 | Corrugated pipe 20mm | pc | 50
5 | Key switch, 10A | pc | 1
6 | Plug rosette with ground contact, 2P + E-16A | pc | 6
7 | Mounting box | pc | 7
8 | Terminal block with screw connection, 6X1,5-2,5 mm cross section (20A) | pc | 100
9 | LED panel 600x600 40W, IP44 | pc | 2
10 | E-mail Shield 36 module, shallow | pc | 1
11 | Breaker 3 * 25a | pc | 1
12 | Breaker 16a | pc | 3
13 | Breaker 10a | pc | 2
14 | Differential circuit breaker 2xC16 / 30mA | pc | 3
16 | Indication lamp 220 v | pc | 3
17 | 5 * 50 spilenzi salt | pc | 1
18 | 3 p indicator | pc | 3
19 | Button on / off | pc | 3
20 | Comb 3p | pc | 1
21 | spending materials |  | 1
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total

## Railway
ძალაშია ათი სამუშაო დღის განმავლობაში
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | NYRY 5x2.5 | m | 220
2 | NYRY 5 * 16 | m | 110
3 | Metal mounting tube Ø 32, with screw | m | 200
4 | Metal mounting pipe bracket | pc | 300
5 | Metal galvanized cable duct 200x60 | pc | 100
6 | Cable channel cap | m | 100
7 | Metal cable duct mount bracket | pc | 125
8 | Three-phase plug rosette 4P + E 63A, IP67 | pc | 2
9 | Receiver l = 1.5 m with clamp connecting base and glinula | pc | 52
10 | Galvanized grounding stem Ø 20mm, l = 2.5 m | pc | 14
11 | Galvanized zolovana 4x40 mm | pc | 250
12 | Galvanized clay 8 mm | pc | 400
13 | Stem and Zolovana connecting detail | pc | 68
14 | Earthing terminal block | pc | 4
15 | Exam Light for 70W, EEx d IIC T3 - IP65 / 66 | pc | 30
16 | Electric distribution shield 600 * 600 * 200 ip65 | pc | 1
17 | Indication lamp 220 v | pc | 6
18 | Breaker 3 * 80a (breaker ginger) | pc | 1
19 | Breaker 3 * 32 | pc | 2
20 | Breaker 3 * 16 | pc | 2
21 | 3 p indicator | pc | 3
22 | Button on / off | pc | 2
23 | Comb 3p | pc | 2
24 | Set of consumables for electric shield | pc | 1
Sum
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total

## fuei pumps
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | Copper cable with double insulation NYCY 2x1,5 | m | 100
2 | Copper cable with double insulation NYCWY 4x25 / 16 | m | 15
3 | Copper cable with double insulation NYCWY 4x50 / 25 | m | 40
4 | Copper cable with double insulation NYCWY 4x95 / 50 | m | 15
5 | Copper grounding cable NYAF 16mm² | m | 10
6 | Copper grounding cable NYAF 25mm² | m | 30
7 | Copper grounding cable NYAF 50mm² | m | 15
21 | Galvanized grounding stem Ø20mm, l = 2.5 m | pc | 8
22 | Galvanized strip 3.5x30 mm | pc | 70
23 | Stem and Zolovana connecting detail | pc | 13
24 | Earthing terminal block | pc | 2
25 | A set of auxiliary installation materials | pc | 1
26 | Metal galvanized cable duct 300x60 | pc | 21
27 | Cable channel cap | m | 21
28 | Metal cable duct floor mount bracket | pc | 36
29 | Branch of metal cable duct | pc | 2
30 | 1 key switch, 10A | pc | 1
31 | Plug rosette with ground contact, 2P + E-16A, IP65 | pc | 1
32 | Exam Light for 70W, EEx d IIC T3 - IP65 / 66 | pc | 9
33 | Breaker 3 * 400a | pc | 1
34 | Breaker 3 * 200a | pc | 1
35 | Breaker 3 * 160a | pc | 2
36 | Breaker 3 * 80a | pc | 3
37 | Breaker 10a | pc | 2
40 | Multimeter shield for installation | pc | 3
41 | Melting Guard Nest 3P | pc | 2
42 | Melting guard | pc | 6
43 | Indication lamp 220 v | pc | 6
44 | 4p-1000a | pc | 1
45 | 4p-800a | pc | 1
46 | 5 * 50 spilenzi salt | pc | 1
47 | 2000 * 650 + 150 * 600 electric shield | pc | 1
49 | Leakage relay 4p 63a / 300ma | pc | 1
50 | 3 p indicator | pc | 3
51 | Button on / off | pc | 5
52 | Electric shield consumables set | pc | 1
53 | spending materials |  | 1
Sum
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total

## Fire pumps
N | Name | Unit | Quant | Unit price | Total price | Installation unit price | Total inst.price | Total
1 | nyy 3 * 1,5 | m | 320
2 | n2xh fe180 / e90 4 * 6 | m | 10
3 | n2xh fe180 / e90 4 * 95 | m | 50
4 | nyaf 16 | m | 10
5 | nyaf 25 | m | 25
6 | Rosette combination in casing 2P + E-16A, 4P + E-16A | pc | 1
7 | 400 * 400 for well grounding | pc | 2
8 | Breaker 3 * 800a | pc | 2
9 | Breaker 3 * 630a | pc | 3
10 | Breaker 3 * 25a | pc | 2
11 | Breaker 3 * 10a | pc | 1
12 | Multimeter shield for installation | pc | 3
13 | Melting Guard Nest 3P | pc | 1
14 | Melting guard | pc | 3
15 | Indication lamp 220 v | pc | 6
16 | 4p-1000a | pc | 1
17 | 4p-800a | pc | 1
18 | 5 * 50 spilenzi salt | pc | 1
19 | 2000 * 650 + 150 * 600 electric shield | pc | 1
20 | led 1200mm 40w | pc | 6
21 | Emergency light (with battery) 3w | pc | 2
22 | exit indicator (with battery) | pc | 1
23 | Cable channel made of metal 200 * 50 | m | 24
24 | Bracket set | pc | 55
25 | Cable channel made of metal 300 * 50 | m | 20
26 | Earthing block | pc | 1
27 | Set of consumables for electric shield | pc | 1
Sum
| Unexpected cost |  |  |  |  | 5%
ჯამი
| Overhead cost |  |  |  |  | 2%
ჯამი
| Transport |  |  |  |  | 3%
ჯამი
| Profit |  |  |  |  | 10%
Sum
| VAT |  |  |  |  | 18%
Total