## Price Table
N | Description | Q-ty | Unit | Manufacturer Company / Country | Delivery date | Warranty | Unit Price, GEL Incl. VAT | Total Price GEL Incl. VAT
1 | Vertical Turbine Pump Q=1000 M3/h; H=50 m; Power engine P=250 kW; Voltage 6000 V | 4 | Pcs |  |  |  |  | 0
2 | Vertical Turbine Pump Q=1000 M3/h; H=50 m; Power engine P=250 kW; Voltage 400 V | 4 | Pcs
| Total: | [6 empty] | 0