GWP – Reconstruction-Modernization Project of the Drinking

Water Treatment Plants: “Ghramaghele”, “

Samgori”, “Bulachauri”, “Saguramo”, “Natakhtari”,

“Khrami”, “Rustavi”, “Marneuli” and “Gardabani”.

Technical Assingment

General Information:

Georgian Water and Power LLC – ID 203 826 002 implemented high-quality drinking to Tbilisi, Mtskheti, and Rustavi through the main facilities located in Tbilisi, Mtsketa, and Village Mughanlo.  In these treatment plants, the water is extracted, technologically processed, disinfected, and continuously supplied to the population.

Disinfection is one of the important components in the technological processing of drinking water. The supply of drinking water from the main facilities is carried out over long distances and the water must be cleaned and be safe to use.  Water is disinfected at the main facilities using chlorine gas (1-ton cylinders).

The main goal of the project is to fully upgrade the drinking water chlorination system in 2025-2026 with full equipment including the safety system.

The project includes 9 (nine) Water treatment plants, which are differentiated into large, medium, and small stations according to consumption. The list of the water treatment plans with current working points and expecting points after the renovation is given in the attached file as Annex N1.

Project’s Main Requirements:

- Replacement of the chlorine gas dosing system in chlorination stations;

- Arrangement of the automatic systems for regulation of the dose of chlorine in water (compatibility with SCADA systems);

- Minimization of the connected chlorine gas cylinders in the network;

- Installation of scrubbers, ventilation and neutralization systems.

The bidding company must submit the complete design of the project, including the proposed project implementation with the corresponding reconstruction part of the building/location, which will be performed by the client by the requirements presented separately, independently of the given project.

During the implementation of the project, the existing system should not be touched/used (it should continue working without interruption and the replacement with the new system should be done smoothly). In case the installation works are performed in the same area where the existing systems are located, the workplace should be separated from the existing system so that it does not become contaminated and/or damaged.

Technical Project and Documentation:

The technical requirements, the plan and the scope of supply for Ghrmaghele and Samgori Water treatment Plants (large stations) will be shared with the interested participants after singing the non-disclosure declaration (NDD) – plan, scope of supply, chlorine dosage design calculations, neutralization system.

The same requirements will be valid for the rest Water Treatment Plants (medium and small stations). The only difference will be in safety system, as the medium and small stations do not need Chlorine leakage neutralization system and only a safety/neutralization system will be sufficient - the inclusion of a security system for the automatic closing system of chlorine gas cylinder valves (preferentially of electrical type with SAE).

Note: For all stations chlorine gas cylinders are at the place and no purchase is needed.

The participant can provide the project covering all requirements with the similar positions/systems which are given for Ghrmaghele and Samgori Stations projects.

All interested companies must evaluate all water treatment plants on site and only the project design and commercial proposal resulting from the site visit and evaluation will be considered.

The tender duration – 60 Calendar days.

Validity of the tender proposal – 90 calendar days after finishing the tender.

The installation period depends on the design of the project, the period of execution of the reconstruction works required for the objects, which is provided by the customer independently of the project. The delivery of the goods and installation service of the stations must be provided partially according to the negotiated schedule during 2025-2026 years.

The tender main requirements:

- The project design with detailed information;

- The equipment with detailed description and datasheets;

- Installation service;

- Guarantee period no less than 3 years, which contains the site visits under schedule.

- Training and Maintenance Service

Commercial and technical proposals must be provided separately for each station.

Photos of the current situation of the stations:

Contact information:

Procurement Specialist

Ketevan Kandelaki

Address: 10 Medea (Mzia) Jugeli str., 0179, Tbilisi, Georgia

E-mail: kekandelaki@gwp.ge

Tel.: +995 599 19 25 00

Technical contact person:

George Shengelaia

Address: 14 N. Shanava Str. 0178, Tbilisi, Georgia

E-mail: gshengelaia@gwp.ge

Tel.: +995 599 67 54 54