## Sheet1
№ | Product type | Test | Device | material for purchase | Quantity | Total. Euro | SHELF LIFE | Delivery TIME
1 | Reference materials | Automatic analyzer of fractional composition | Automatic analyzer OptiDist | Reference sample of gasoil (Diesel) fuel (Distillation ASTM D 86) (Reference materiale accredited by ISO 17034) | 250ml | 0
2 | Reference materials | Automatic analyzer of fractional composition | Automatic analyzer OptiDist | Reference sample of gasoline fuel (Distillation ASTM D 86) (Reference materiale accredited by ISO 17034) | 250ml
3 | Reference materials | Flash Point | Pensky Martens Flash Point Analyzer HFP 339339 | Standard, FP, 250 ml (01000-329-51 Crm Flash Point Pm Method A Appr. +65°C, 255ml) (Reference materiale accredited by ISO 17034) | 250ml
4 | Reference materials | Determination of total sulfur | Automatic analyzer TS 3000 | Standard, S, set, 2 ml/pk D-5454-LL-SET, 0, 1, 2.5, 5, 7.5, 10 ng/µL, on the basis of isooctane (Reference materiale accredited by ISO 17034) | 1 bundles
5 | Reference materials | Determination of total sulfur | Automatic analyzer TS 3000 | Standard, S, set, 2 ml/pk D-5454-LL-SET, 0, 1, 2.5, 5, 7.5, 10 ng/µL, on the basis of Toluene (Reference materiale accredited by ISO 17034) | 1 bundles
6 | Reference materials | Determination of total sulfur | Automatic analyzer TS 3000 | Standart, S, 10mg/kg, monostandard on the basis of Toluene (Reference materiale accredited by ISO 17034) | 50ml
7 | Reference materials | Automatic instrument for determination of saturated vapor pressure HVP 972 | Herzog, HVP 972 | Vapor Pressure of Gasoline ( Stadartd) (Reference materiale accredited by ISO 17034) | 250ml
8 | Reference materials | Kinematic Viscosity of diesel fuel | Automatic Viscometer HVU 481 | Certified Reference Material for kinematic viscosity verification and calibration, with Certificate, stating results and accuracy of density @ 20°C and viscosity @ 20°, 25°, 40°, 50° and 100°C, S1, 2.9 mm2/s @40°C; 1.2 mm2/s @ 100°C (Reference materiale accredited by ISO 17034) | 250ml
9 | Reference materials | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline OptiFuel | FAME check standard, OptiFuel | 250ml
10 | Reference materials | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline OptiFuel | Benzene check standard, OptiFuel | 250ml
11 | Reference materials | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline OptiFuel | Reagecon Gasoline Calibration Standard (2 Compound Mix) in Petroleum Ether | 250ml
12 | Reference materials | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline OptiFuel | Reagecon Gasoline Calibration Standard (3 Compound Mix) in Petroleum Ether | 250ml
13 | Reagents |  |  | n-hexane 99% | 10l
14 | Reagents |  |  | acetone 99% | 10l
15 | Reagents |  |  | Toluene 99% | 40l
16 | Reagents |  |  | ethanol 99% | 5l
17 | Reagents |  |  | n-Decane 99% | 1l
18 | Reagents |  |  | Methanol 99% | 5l
19 | Reagents |  |  | Hexadecane min 95% | 1l
20 | Reagents |  |  | Distilled water (საქართველოში შესაძენი) | 10l
21 | Reagents |  |  | Benzene 99% | 2l
22 | Reagents |  |  | tert-amyl methyl ether 99% | 1l
23 | Reagents |  |  | tert-Butyl ethyl ether 99% | 1l
24 | Reagents |  |  | tert-Butyl methyl ether 99% | 1l
25 | Reagents |  |  | 1,3-Dimethylbenzene (m-xylene) 99% | 1l
26 | Reagents |  |  | Ethylbenzene 99% | 1l
27 | Reagents |  |  | 2,2,4-Trimethylpentane (isooctane) 99% | 10l
28 | Reagents |  |  | Pentane 99% | 1l
29 | Reagents |  |  | Propylbenzene 99% | 1l
30 | Reagents |  |  | 1,3,5-Trimethylbenzene (mesitylene) 99% | 1l
31 | Reagents |  |  | m-Xylene 99% | 1l
32 | Reagents |  |  | Base gasolines containing no oxygenates 99% | 1l
33 | Reagents |  |  | Tert-butanol TBA 99% | 1l
34 | Reagents |  |  | Methyl tert-butyl ether, MTBE 99% | 1l
35 | Reagents |  |  | Ethyl tert-butyl ether, ETBE 99% | 1l
36 | Reagents |  |  | tert-Amyl methyl ether, TAME 99% | 1l
37 | Reagents |  |  | Diisopropyl ether, DIPE 99% | 1l
38 | Reagents |  |  | Petroleum ether (reagent 500ml) 99% | 4l
39 | Reagents |  |  | N-heptane 99% | 10l
40 | Reagents |  |  | Ethyltoluene 99% | 1l
41 | Spare parts | Determination of total sulfur | Automatic analyzer TS 3000 | Oxygen balloon (საქართველოში შესაძენი) | 20 unites
42 | Spare parts | Determination of total sulfur | Automatic analyzer TS 3000 | Argon balloon (საქართველოში შესაძენი) | 30 unites
43 | Spare parts | Determination of total sulfur | Automatic analyzer TS 3000 | Syringe Hamilton 1710 RN EURO 2, 100 mkm | 2 unites
44 | Spare parts | Determination of total sulfur | Automatic analyzer TS 3000 | Needle Small RN, 22 gauge, 71 mm length, point style 5 (pack of 6) HS9018321000 | 5 unites
45 | Spare parts | Automatic analyzer of fractional composition | Automatic analyzer OptiDist | Cooling fluid OptiDist Vers. 2 | 2l
46 | Spare parts | Automatic density analyzer | Automatic density analyzer DDM 2911 | Calcium sulphate Dririte self-indacating about 3 mm (8 mesh) for dryung, 454 g, HS2833298080 | 454g
47 | Spare parts | Determination of the amount of water in the fuel | Coulomb meter by Karl Fischer method | OX-D2.0.F3.12/2mm. Transparent/Sililica. | 12 unites
48 | Spare parts | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline OptiFuel | Cleaning Solution | 15 ampoule
49 | Spare parts | RON, MON, Oxygenates, Benzene | Automatic tool for determining the quality of gasoline PetroSpec | Teflon Fuel Filters, GS-1420 (OX-TFF,1420 /2mm. Transparent/Sililica) | 50 unites