Request for Proposal (RFP)
Tbilisi Mall – Scope of Work for Comprehensive Façade Inspection

1. Project Overview

• Tbilisi Mall seeks professional services to conduct a comprehensive inspection of the entire façade system to assess structural integrity, material condition, and safety compliance.
• The inspection will require partial dismantling of the façade ( small sections ) to reveal and evaluate internal structural elements.

2. Objectives

• Assess the current condition of the façade, including cladding panels and their support structures.
• Identify any hidden deterioration, corrosion, or failure in material or design.
• Evaluate issues and determine their current status.
• Provide actionable recommendations for rectification, supported by technical documentation.

3. Scope of Work

3.1. Inspection and Dismantling

• Conduct a visual and structural inspection of all façade elevations.
• Dismantle selected façade sections to access internal structural supports and concealed components.
• Document findings with photographs and technical descriptions.

3.2. Technical Reporting

• Provide a comprehensive inspection report outlining the condition of the façade and its support structure.
• The report must address concerns including:

- Corrosion of secondary steel framing

- Cracks and delamination in stucco or painted surfaces

- Absence or inadequacy of physical fasteners

- Durability concerns related to stucco board materials
• Include detailed analysis and condition assessment for each façade section.

3.3. Recommendations and BOQ

• Propose rectification methods for all identified issues, with multiple options where appropriate.
• Provide a detailed Bill of Quantities (BOQ), including dimensions, material specifications, and estimated quantities.
• Support proposals with technical sketches or drawings.

4. Timeline

• Provide a detailed project schedule, including key milestones such as site mobilization, inspection phases, reporting, and submission of recommendations.

5. Deliverables

• Complete façade condition report, including photo documentation.
• BOQ and technical sketches for recommended rectification works.
• Summary of key risks and mitigation strategies.

6. Quality Assurance

• All inspection and documentation work must comply with international façade assessment standards and safety practices.
• Ensure safe access to elevated areas and minimal disturbance to mall operations during inspection works.

7. Reporting Responsibility and Post-Submission Support

• The contractor must ensure that all inspection findings and recommendations are prepared with professional diligence, based on recognized industry standards.
• The contractor shall remain available for clarification or technical support related to the report at no additional cost.

8. Evaluation Criteria

Proposals will be evaluated based on the following criteria:
• Relevant experience in façade inspection and structural assessment
• Technical qualifications of proposed personnel
• Quality and clarity of the proposed inspection methodology
• Cost-effectiveness and completeness of the proposal

Required Submission Content:
• Company profile, history, and relevant experience
• CVs of key personnel involved in the inspection ( if required )
• References from similar projects
• Proof of insurance and relevant licenses

9. Commercial Terms

Proposal should include

• Contractor’s All Risk Insurance: Total project cost
• Third-Party Liability: 50% of project cost
• Advance Payment: 50% available upon submission of bank guarantee, valid until project completion
• Retention: 5% for one year
• No interim payments

Submission Deadline and Contact Information

Proposals must be submitted via the tenders.ge platform before the platform’s published deadline.
For questions related to the tender process or project details, please contact:

Beka Tsiklauri
Procurement Manager
E-Mail: b.tsiklauri@tbilisimall.com
Mobile: +995 591 51 43 09

Thank you for your interest in this project. We look forward to receiving your proposal.