## Summary
Line | Item number | Product name | Quantity | Unit | Unit Price | Total Price | Currency
1 | D15A-70935 | Submersible Sewage Pump Set Q=5.0 l/sc; H=17 m. with cooling jacket (1+1) | 1 | set
2 | D15A-70936 | Submersible Sewage Pump Set Q=3.0 l/sc; H=10 m. with cooling jacket (1+1) | 1 | set
3 | D15A-70937 | Submersible Sewage Pump Set Q=3.0 l/sc; H=21 m. with cooling jacket (1+1) | 1 | set
4 | D15A-70939 | Submersible Sewage Pump Set Q=2.0 l/sc; H= 8 m. with cooling jacket (1+1) | 1 | set
FILLING OUT ALL SHEETS IN THIS EXCEL FILE IS MANDATORY: Lot 1, Lot 2, Lot 3, Lot 4
Cooling jackets are mandatory!
Control Panels should be for outdoor use!
Ultrasonic sensors should be offered instead of Hydrostatic sensor in each set

## Lot 1
|  | Lot 1 | [17 empty] | Mndatory to be included
| N | Requested Product name | Quantity | Unit | Photo approx refference | Product Name and specs from the supplier | Product Photo from the supplier | Quantity from the supplier | Unit from the supplier | Unit price | Net amount | Currency | Supplier Company name | Manufacturing Company name | Manufacturing Country (Countries) | Exact Brand and Model | Item Numbers | Exact specifications | Link To the product Specs or Photos | Supervision of commissioning and start-up included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address if Exw | Dimensions and weight of the goods if Exw | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO
| 1 | კანალიზაციის ჩაძირული ტუმბო Q=5.0 ლ/წმ; H=17 მ. (გამაგრილებელი გარსაცმით)/Submersible Sewage Pump Q=5.0 l/sc; H=17 m. (With cooling casing) | 2 | pcs | [6 empty] | 0
საორიენტაციო კომპლექტაცია - გთხოვთ ტუმბო სადგურის გამართული მუშაობისთვის თავად დააკორექტირეთ და დააზუსტეთ კომპლექტაცია საჭირო ნაწილებით - Approximate set - please adjust and specify the set with the necessary parts for the proper operation of the pumping station. | 2 | სადგამი - Suspension unit / Auto coupling set | 2 | pcs | [6 empty] | 0
| 3 | მართვის კარადა - CONTROL SYSTEM/Panel prefearably factory made; for outdoor use! | 1 | pcs | [6 empty] | 0
| 4 | მექ. ტივტივა - Float switch | 2 | pcs | [6 empty] | 0
| 5 | ულტრაბგერითი სენსორი - Ultrasonic sensor | 1 | pcs | [6 empty] | 0
| 6 | მიმართველი მილი Guide pipe Stainless Steel High quality |  | pcs | [6 empty] | 0
| 7 | ჯაჭვი - Sling chain kit |  | pcs | [6 empty] | 0
| 8 | სამაგრი - shakle |  | pcs | [6 empty] | 0
| 9 | უკუსარქველი - Non-return valve |  | pcs | [6 empty] | 0
| 10 | ურდული - Gate valve |  | pcs | [6 empty] | 0
| 11 | სამკაპი - Y-piece |  | pcs | [6 empty] | 0
|  | If necessary add the parts of the set which are not included | [8 empty] | 0
|  | If necessary add the parts of the set which are not included | [8 empty] | 0
|  | If necessary add the parts of the set which are not included | [8 empty] | 0
|  | If necessary add the parts of the set which are not included | [8 empty] | 0
|  | If necessary add the parts of the set which are not included | [8 empty] | 0
Packaging If Any
Shipping if any
0

## Lot 2
|  | Lot 1 | [16 empty] | Mndatory to be included
| N | Requested Product name | Quantity | Unit | Photo approx refference | Product Name from the supplier | Quantity from the supplier | Unit from the supplier | Unit price | Net amount | Currency | Supplier Company name | Manufacturing Company name | Manufacturing Country (Countries) | Exact Brand and Model | Item Numbers | Exact specifications | Link To the product Specs or Photos | Supervision of commissioning and start-up included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address if Exw | Dimensions and weight of the goods if Exw | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO
| 1 | კანალიზაციის ჩაძირული ტუმბო Q=3.0 ლ/წმ; H=10 მ. (გამაგრილებელი გარსაცმით)/Submersible Sewage Pump Q=3.0 l/sc; H=10 m. (With cooling casing) | 2 | pcs | [5 empty] | 0
საორიენტაციო კომპლექტაცია - გთხოვთ ტუმბო სადგურის გამართული მუშაობისთვის თავად დააკორექტირეთ და დააზუსტეთ კომპლექტაცია საჭირო ნაწილებით - Approximate set - please adjust and specify the set with the necessary parts for the proper operation of the pumping station. | 2 | სადგამი - Suspension unit / Auto coupling set | 2 | pcs | [5 empty] | 0
| 3 | მართვის კარადა - CONTROL SYSTEM/Panel prefearably factory made; for outdoor use! | 1 | pcs | [5 empty] | 0
| 4 | მექ. ტივტივა - Float switch | 2 | pcs | [5 empty] | 0
| 5 | ულტრაბგერითი სენსორი - Ultrasonic sensor | 1 | pcs | [5 empty] | 0
| 6 | მიმართველი მილი Guide pipe Stainless Steel High quality |  | pcs | [5 empty] | 0
| 7 | ჯაჭვი - Sling chain kit |  | pcs | [5 empty] | 0
| 8 | სამაგრი - shakle | [7 empty] | 0
| 9 | უკუსარქველი - Non-return valve | [7 empty] | 0
| 10 | ურდული - Gate valve | [7 empty] | 0
| 11 | სამკაპი - Y-piece | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
Packaging If Any
Shipping if any
0

## Lot 3
|  | Lot 1 | [16 empty] | Mndatory to be included
| N | Requested Product name | Quantity | Unit | Photo approx refference | Product Name from the supplier | Quantity from the supplier | Unit from the supplier | Unit price | Net amount | Currency | Supplier Company name | Manufacturing Company name | Manufacturing Country (Countries) | Exact Brand and Model | Item Numbers | Exact specifications | Link To the product Specs or Photos | Supervision of commissioning and start-up included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address if Exw | Dimensions and weight of the goods if Exw | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO
| 1 | კანალიზაციის ჩაძირული ტუმბო Q=3.0 ლ/წმ; H=21 მ. (გამაგრილებელი გარსაცმით)/Submersible Sewage Pump Q=3.0 l/sc; H=21 m. (With cooling casing) | 2 | pcs | [5 empty] | 0
საორიენტაციო კომპლექტაცია - გთხოვთ ტუმბო სადგურის გამართული მუშაობისთვის თავად დააკორექტირეთ და დააზუსტეთ კომპლექტაცია საჭირო ნაწილებით - Approximate set - please adjust and specify the set with the necessary parts for the proper operation of the pumping station. | 2 | სადგამი - Suspension unit / Auto coupling set | 2 | pcs | [5 empty] | 0
| 3 | მართვის კარადა - CONTROL SYSTEM/Panel prefearably factory made; for outdoor use! | 1 | pcs | [5 empty] | 0
| 4 | მექ. ტივტივა - Float switch | 2 | pcs | [5 empty] | 0
| 5 | ულტრაბგერითი სენსორი - Ultrasonic sensor | 1 | pcs | [5 empty] | 0
| 6 | მიმართველი მილი Guide pipe Stainless Steel High quality |  | pcs | [5 empty] | 0
| 7 | ჯაჭვი - Sling chain kit |  | pcs | [5 empty] | 0
| 8 | სამაგრი - shakle | [7 empty] | 0
| 9 | უკუსარქველი - Non-return valve | [7 empty] | 0
| 10 | ურდული - Gate valve | [7 empty] | 0
| 11 | სამკაპი - Y-piece | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
Packaging If Any
Shipping if any
0

## Lot 4
|  | Lot 1 | [16 empty] | Mndatory to be included
| N | Requested Product name | Quantity | Unit | Photo approx refference | Product Name from the supplier | Quantity from the supplier | Unit from the supplier | Unit price | Net amount | Currency | Supplier Company name | Manufacturing Company name | Manufacturing Country (Countries) | Exact Brand and Model | Item Numbers | Exact specifications | Link To the product Specs or Photos | Supervision of commissioning and start-up included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address if Exw | Dimensions and weight of the goods if Exw | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO
| 1 | კანალიზაციის ჩაძირული ტუმბო Q=2.0 ლ/წმ; H=8 მ. (გამაგრილებელი გარსაცმით)/Submersible Sewage Pump Q=2.0 l/sc; H=8 m. (With cooling casing) | 2 | pcs | [5 empty] | 0
საორიენტაციო კომპლექტაცია - გთხოვთ ტუმბო სადგურის გამართული მუშაობისთვის თავად დააკორექტირეთ და დააზუსტეთ კომპლექტაცია საჭირო ნაწილებით - Approximate set - please adjust and specify the set with the necessary parts for the proper operation of the pumping station. | 2 | სადგამი - Suspension unit / Auto coupling set | 2 | pcs | [5 empty] | 0
| 3 | მართვის კარადა - CONTROL SYSTEM/Panel prefearably factory made; for outdoor use! | 1 | pcs | [5 empty] | 0
| 4 | მექ. ტივტივა - Float switch | 2 | pcs | [5 empty] | 0
| 5 | ულტრაბგერითი სენსორი - Ultrasonic sensor | 1 | pcs | [5 empty] | 0
| 6 | მიმართველი მილი Guide pipe Stainless Steel High quality |  | pcs | [5 empty] | 0
| 7 | ჯაჭვი - Sling chain kit |  | pcs | [5 empty] | 0
| 8 | სამაგრი - shakle | [7 empty] | 0
| 9 | უკუსარქველი - Non-return valve | [7 empty] | 0
| 10 | ურდული - Gate valve | [7 empty] | 0
| 11 | სამკაპი - Y-piece | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
|  | If necessary add the parts of the set which are not included | [7 empty] | 0
Packaging If Any
Shipping if any
0