## Sheet1
Item | Specification | Quantity of device
Manufacturer | HEWLETT-PACKARD | 1
Model | HPE MSA 2052 SAN Dual Controller SFF Storage
Form Factor | 2U Rackmount Server
Host interface | 16 Gb/8 Gb Fibre Channel 4-ports per controller or 1 GbE/10GbE iSCSI 4-ports per controller included
SFP | HPE MSA 10Gb Short Range iSCSI SFP+ 4-pack Transceiver with 4 x 5M LC\LC Cables
Disk | 19 x 1.8TB 12G SAS 10K 5 x 800 GB 12G SAS Mixed Use SSD
Power supply | 2 x AC Redundant Power Supply
Warranty | HP 3Y 4 hr 24x7 Proactive Care SVC