## Schedule
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December | Amount GEL without VAT
Ventilation and cooling system | [17 empty] | 0
Cooling system | Chiller DX | L1, Ramp | Server room alternative cooling | 2 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L-1 | Fancoil, connections, condensate drain | 12 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Channel Fancoil | L-1 | UPS/ MDB cooling | 2 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Ventilation system | Channel electrical Heater | L-1 | Locker room and TechOps office ventilation preheating | 3 | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Circulation pumps | L-1 | Cooling agent circulation pumps | 5 | 2 times a year | M1 | [5 empty] | M2
Cooling system | Valves, balancing valves | L-1 | All valves in main collector room | kit | 2 times a year | M1 | [5 empty] | M2
Cooling system | Ceiling Fancoils | L1 | Fancoil, connections, condensate drain | 49 | 6 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Valves, Balancing valves | L1 | Distribution collector | kit | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Server room in-row cooling, compressors | L1 | Server room cooling equipment | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L2 | Fancoil, connections, condensate drain | 60 | 6 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Conditioner Multi split system (specify make) | L2 | Office temporary cooling | 5 | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Valves, balancing valves | L2 | Distribution collector | kit | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Ceiling Fancoils | L3 | Fancoil, connections, condensate drain | 55 | 6 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Conditioner Multi split system (specify make) | L3 | Office temporary cooling | kit | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Valves, balancing valves | L3 | Distribution collector | kit | 2 times a year |  |  | M1 | [5 empty] | M2
Cooling system | Chiller Daikin EWAD CFXS 770 | L3 platform | Chillers, automatics, actuators, compressors, pumps | 2 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Ventilation system | AHU1 WBW (specify model) | L-1 | AHU, Filters, automatics | 1 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Ventilation system | AHU2 WBW (specify model) | L-1 | AHU, Filters, automatics | 1 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Ventilation system | Channel fans | L-1 | Techops extraction, CO2 extraction | 2 | 2 times a year |  | M1 | [5 empty] | M2
Ventilation system | Shower fan | L-1 | Shower extraction fan | 1 | 1 time a year |  |  |  | M1
Ventilation system | Diffusers, valves, fire dampers | L-1 |  | kit | 2 times a year |  | M1 | [5 empty] | M2
Ventilation system | Diffusers, valves, fire dampers | L1 |  | kit | 2 times a year |  | M1 | [5 empty] | M2
Ventilation system | Toilets fan | L1 | Toilets extraction fan | 1 | 1 time a year |  |  |  | M1
Ventilation system | Electrical air curtains | L1 | Future lobby electrical curtains | 2 | 2 times a year |  |  | M1 | [5 empty] | M2
Ventilation system | Heat extraction fan | Rehau building L1 | Fan & automatics for heat extraction from transformer room | 1 | 2 times a year |  |  |  | M1 | [5 empty] | M2
Ventilation system | AHU3 WBW (specify model) | L1 ramp (future) | future AHU, Filters, automatics | 1 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Ventilation system | Diffusers, valves, fire dampers | L2 |  | kit | 2 times a year |  | M1
Ventilation system | Toilets fan | L2 | Toilets extraction fan | 1 | 1 time a year |  |  |  | M1
Ventilation system | Diffusers, valves, fire dampers | L3 |  | kit | 2 times a year |  | M1 | [5 empty] | M2
Ventilation system | Toilets fan | L3 | Toilets extraction fan | 1 | 1 time a year |  |  |  | M1
Ventilation system | AHU4 WBW (specify model) | L3 platform | AHU, Filters, automatics | 1 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Electrical system | [17 empty] | 0
Main distribution board | MDB1 | L-1 |  | kit | 2 times a year | [5 empty] | M1 | [5 empty] | M2
Main distribution board | MDB2 | L-1 |  | kit | 2 times a year | [5 empty] | M1 | [5 empty] | M2
Main distribution board | GSS1 MDB | L-1 |  | kit | 2 times a year | [5 empty] | M1 | [5 empty] | M2
Main distribution board | GSS2 MDB | L-1 |  | kit | 2 times a year | [5 empty] | M1 | [5 empty] | M2
Distribution board | GSS Emergency | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS0 | L-1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS0.4 DB | L-1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.1 | L1 | From UPSS1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | SGS1 (MSR) | L1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS2 | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS1.1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS1DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS1DB | L1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS Security | L1 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS 2.1 | L1 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.2 | L2 | From UPSS1 DB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS2 DB | L2 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.3 | L3 | From UPSS1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS2.3 | L3 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS3 DB | L3 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | Canteen DB | L3 | From MDB2 | 1 | 1 time a year | [5 empty] | M1
EXIT signs | EXIT | L-1 |  |  | 2 times a year |  |  |  | M1 | [5 empty] | M2
EXIT signs | EXIT | L1 |  |  | 2 times a year |  |  |  | M1 | [5 empty] | M2
EXIT signs | EXIT | L2 |  |  | 2 times a year |  |  |  | M1 | [5 empty] | M2
EXIT signs | EXIT | L3 |  |  | 2 times a year |  |  |  | M1 | [5 empty] | M2
Lighting |  | L-2 līdz L9 | Both buildings | kompl. | 1 time a year | [5 empty] | M1
Fire safety system | [17 empty] | 0
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 12 times a year | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Public Address system | Amplifiers Bosh, loudspeakers | L-1 -L3 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year | M3: M1; M6: M2; M9: M3; M12: M4
Fire fighting system | Fire pumps Ebbit | L-1 | According to local regulations | 2 | 4 times a year | M1: M1; M4: M2; M7: M3; M10: M4
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year | M1: M1; M4: M2; M7: M3; M10: M4
Fire fighting system | Fire hydrand boxes | L-1 - L3 | According to local regulations | 8 | 4 times a year | M1: M1; M4: M2; M7: M3; M10: M4
Fire fighting system | Fire extinguishers | L-1 - L3 | According to local regulations |  | 1 time a year | bar: M10
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Evacuation | Evacuation door/turnstile unblocking | L1 |  |  | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Evacuation | Evacuation door unblocking | L3 |  |  | 4 times a year | M2: M1; M5: M2; M8: M3; M11: M4
Heating, water supply, sewer | [17 empty] | 0
Sewer | Sewer pumps | L1 (outside) | Specify make | 2 | 12 times a year | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12
Sewer | Sewer wells | L1 (outside) | All sewer wells around building | 3 | 12 times a year | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12
Water supply | Circulation pumps, pressure pumps, main valves | L-1 | specify make | kit | 2 times a year | bar: M4 M4; M10 M10
Water supply | Hydrophore and connections | L-1 | Specify make | 2 | 2 times a year | bar: M4 M4; M10 M10
Water supply | Hot water boilers and connections | L-1 | Specify make | 2 | 2 times a year | bar: M4 M4; M10 M10
Gas Boiler | Gas boilers (temporary) | L1 | Specify make | 1 | 2 times a year | bar: M4 M4; M10 M10
Electro-mechanical systems | [17 empty] | 0
electro-mechanical systems | Garage gates | L-1 | Specify make | 1 | 2 times a year | bar: M3 M3; M8 M8
electro-mechanical systems | Turnstiles | L1 | Lobby turnstiles | 5 | 4 times a year | M1 M1: M1; M4 M4: M2; M7 M7: M3; M10 M10: M4
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- maintenance services
Technical-Financial proposal for maintenance services
Pos | Name of service | Maintenance Service costs yearly, GEL without VAT | Maintenance Service costs, monthly fixed price, GEL without VAT
1 | Ventilation and cooling system | 0 | 0
2 | Electrical system | 0 | 0
3 | Fire safety system | 0 | 0
4 | Heating, water supply, sewer | 0 | 0
5 | Electro-mechanical systems | 0 | 0
6 | Annual 24/7 Service Readiness fee, SLA 2h |  | 0
| Total: | 0 | 0
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- Special services
Technical-Financial proposal for special services
Pos | Name of service | Service costs, GEL without VAT
1 | Electrician hourly fee
2 | Plumber hourly fee
3 | HVAC technician hourly fee
4 | General construction worker hourly fee
5 | Automation engineer (Fire safety, BMS, PLC, etc) hourly fee
6 | HVAC engineer hourly fee
7 | Electrical Engineer hourly fee
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________