## Sheet1
Village Tsaishi Public School, Zugdidi, Samegrelo-Zemo Svaneti
Arrangement of a new water well and rehabilitation of 2 existing wells
The estimate is offered by ........
Budget
Please be aware that the prices provided in the table below must be split into material and labour work costs
First Block
# | Name of work | Dimens. | Quantity | Unit price | Total | Price of materials (Sum) | Price of labour works (sum)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
2 | Digging out of ground to arrange a well with 1,1 m diameter | m | 7
3 | Removal of ground from the territory with a wheelbarrow | Cubic metre | 6.7
4 | Placement of the concrete pipes sized 80cm diameter and 80cm height vertically in the excavated well. Arrangement of the top of the well. | Unit | 9
5 | Arrangement of sides of the well with concrete | Cubic metre. | 3.2
6 | Arrangement and concreting of mosaic top of the well. | Square metre | 2.25
7 | Digging out a trench to arrange the pipeline, sized 50cm depth and 30cm. Backfilling of ground. | Linear metre | 10
8 | Deepening and cleaning of the existing well | m | 0.5
9 | Arrangement of the pipeline system. Installation of a pump in the well and connecting it to the water tank (D25 pipe) | Linear metre | 21
10 | Wrapping of water tank and pipe. | Square metre | 8.2
11 | Arrangement of a metal cover on the mosaic top of the well. | Unit | 1
12 | Non-standard metal cover | Unit | 1
13 | Replacement of the washing tank of Turkish squat toilet | Unit | 3
14 | Arrangement of the mixer taps on the existing porcelain wash-stands | Unit | 11
15 | El. cable 2.5 mm.sq. | Linear metre | 52
16 | Automatic breaker 25 A. | Unit | 1
17 | Socket | Unit | 1
18 | Total
Second Block
# | Name of work | Dimens. | Quantity | Unit price | Total | Price of materials (Sum) | Price of labour works (sum)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
2 | Deepening of the existing well with 1 m diameter | m | 3
3 | Removal of ground from the territory with a wheelbarrow | Cubic metre | 2.36
4 | Placement of the concrete pipes sized 80cm diameter and 80cm height vertically in the excavated well. Arrangement of the top of the well. | Unit | 4
5 | Arrangement of sides of the well with concrete | Cubic metre. | 1.4
6 | Arrangement and concreting of mosaic top of the well. | Square metre | 2.25
7 | Digging out a trench to arrange the pipeline, sized 50cm depth and 30cm. Backfilling of ground. | Linear metre | 108
9 | Arrangement of the pipeline system. Installation of a pump in the well and connecting it to the water tank (D25 pipe) | Linear metre | 127
10 | Wrapping of the water pipe. | Square metre | 4.8
11 | Arrangement of a metal cover on the mosaic top of the well. | Unit | 1
12 | Non-standard metal cover | Unit | 1
13 | Arrangement of the washing tanks in the washrooms with four toilet cabins. (With arrangement of the relevant holes, fixing the tanks on the wall and connecting to the system) | Unit | 4
14 | Arrangement of the mixer taps on the existing porcelain wash-stands | Unit | 1
15 | Painting of the bearing pipe of the water tank | Square metre | 6.2
16 | Strengthening of the toilet door by replacing certain elements | Unit | 4
17 | El. cable 2.5 mm.sq. | Linear metre | 68
18 | Automatic breaker 25 A. | Unit | 1
19 | Socket | Unit | 1
20 | Total
22 | Sum total
Name of the Company:
Representative:
Date:
Signature: