## Лист1
Village Zumi Public School, Ckhorotsku, Samegrelo-Zemo Svaneti
Rehabilitation of washroom and arrangement of a new well and reservoir
The estimate is offered by ........
Budget
Please be aware that the prices provided in the table below must be split into material and labour work costs
# | Name of work | Dimens. | Quantity | Unit price | Total price | Price of materials (Sum) | Price of labour works (sum)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
2 | Arrangement of a well
3 | Digging out a well with 1,1 m diameter. | m | 8
4 | Removal of ground from the territory with a wheelbarrow. | Cubic metre | 7.6
5 | Placement of the pipes sized 90cm diameter and 80cm height vertically in the excavated well. | Unit | 11
6 | Arrangement of sides of the well with concrete | Square metre | 5
7 | Arrangement and concreting of mosaic top of the well. | Square metre | 2.25
8 | Digging out a trench to arrange the pipeline, sized 50cm depth, 30cm width. Backfilling of ground. | Linear metre | 62
9 | Arrangement and concreting a metal construction for 2,5 t water tank. | Unit. | 1
10 | Arrangement of the pipeline in the ground trench, arrangement of a pump in the well and connecting it to the water tank with D25 pipe. | Linear metre | 78
11 | Wrapping of water tank and pipe. | Square metre | 8.2
12 | Arrangement of a metal cover on the mosaic top of the well. | Unit. | 1
13 | Washroom rehabilitation
14 | Existing dismounting works | Set | 1
15 | Arrangement of squat toilet. | Set | 6
16 | Arrangement of wash-stand. (set) | Set | 4
17 | Arrangement of concrete floor with 5-7cm thickness. | Square metre | 45.2
18 | Installation of metal-plastic doors and windows in apertures. | Square metre | 20.22
19 | Daubing of walls with sand-cement solution. | Square metre | 168.8
20 | Treating the walls with spackle. | Square metre | 97.55
21 | Treating the walls with emery paper and painting twice times. | Square metre | 97.55
22 | Arrangement of the roof with profiled tin with wooden carcass. | Square metre | 56
23 | Wooden carcass (5/6cm) | Cubic metre. | 1.2
24 | Tiling of walls. | Square metre | 61.25
25 | Arrangement of the washroom ceiling with plastic coating. | Square metre | 45.2
26 | Laying floor-tiles. | Square metre | 45.2
27 | Arrangement of concrete around the building (drainage). | Square metre | 8.4
28 | Lining stairs with mosaic. | Unit | 6
30 | Installation of 2.5 t tank on the metal construction. | Unit. | 1
31 | El. cable 3-2.5 mm.sq. | Linear metre | 61
32 | Automatic breaker 25 A. | Unit | 1
33 | Waterproof box | Unit | 1
34 | Total
Name of the Company:
Representative:
Date:
Signature: