## Лист1
Rustavi IDP Collective Centre, city Rustavi, Kvemo-Kartli
Rehabilitation works of water Supply in the building
The estimate is offered by ........
Budget
Please be aware that the prices provided in the table below must be split into material and labour work costs
N | List of Works | Unit of measurement | Quantity | Unit Price | Total Price/GEL | Price of materials (Sum) | Price of labour works (sum)
Construction Works
1 | Removal of the existing surface for the trench to arrange the pipeline system | m3 | 2.4
2 | Manual digging of the ground to arrange the trench | m3 | 16
3 | Installation of the high-pressure water supply plastic pipe with elbow pieces - 63 mm, including ground works, sand bed arrangements and mechanical compaction of soil. | m | 65
4 | Installation of the high-pressure water supply plastic pipe with elbow pieces, – 63 mm. | m | 6
5 | Installation of the high-pressure water supply plastic pipe with elbow pieces, – 50 mm including ground works, sand bed arrangements and mechanical compaction of soil. | m | 4
6 | Installation of the high-pressure water supply plastic pipe with elbow pieces, – 50 mm. | m | 4
7 | Cover arrangement - laying for the trench to arrange the pipeline system. | m3 | 2.4
8 | Removal of the pavement tiles and reinstallation and replacement of the damaged ones for the trench to arrange the pipeline system | m2 | 20
9 | Arrangement of the technical apertures | Unit | 6
10 | Breaking out, treatment and filling of the walls | m3 | 1.1
11 | Filling, restoration of the technical apertures | Unit | 6
12 | Repairing of the existing sewage well | Unit | 1
13 | Reinstallation of the cover of the existing sewage well | Unit | 1
14 | Arrangement of the water valve 63 mm with elbow pieces | Unit | 4
15 | Installation of the plastic pipe with elbow pieces 20 mm | m | 31
16 | Installation of the plastic pipe with elbow pieces 25mm | m | 22
17 | Installation of the plastic pipe with elbow pieces 32mm | m | 28
18 | Installation of the plastic pipe with elbow pieces 40mm | m | 18
19 | Installation of the plastic pipe with elbow pieces 50mm | m | 12
20 | Removal and reinstallation of the existing plastic pipes | m | 39
21 | Installation of the faucet 40mm | Unit | 1
22 | Installation of the faucet 20mm | Unit | 8
23 | Installation of the faucet 25mm | Unit | 3
24 | Installation of the faucet 32mm | Unit | 4
25 | Installation of the faucet 50mm | Unit | 2
26 | Removal of the connections to the pillar, including breaking works | Unit | 15
27 | Arrangement of the connections to the pillar with elbow pieces | Unit | 15
28 | Arrangement of the junction for the system discharge | Unit | 1
29 | System exploitation | Unit | 1
30
31 | Cleaning works
32 | Removal of construction waste | m3 | 6
33
34
35 | Total
This Budget includes all possible expanses for which the company shall be liable
in order to fully implement the project.
Name of the Company:
Representative:
Date:
Signature: