## Лист1
Village Jikhashkari N1 Public School, Zugdidi, Samegrelo-Zemo Svaneti
Rehabilitation of a new well and roof
The estimate is offered by ........
Budget
Please be aware that the prices provided in the table below must be split into material and labour work costs
# | Name of work | Dimens. | Quantity | Unit price | Total | Price of materials (Sum) | Price of labour works (sum)
1 | 2 | 3 | 4 | 5 | 6
2 | Digging out ground to arrange a well. Diameter 1,1m | m | 8
3 | Removal of ground from the territory with a wheelbarrow. | Cubic metre | 7.6
4 | Placement of the pipes sized 90cm diameter and 80cm height vertically in the excavated well. | m | 11
5 | Arrangement of sides of the well with concrete | Cubic metre | 3.6
6 | Arrangement and concreting of mosaic top of the well. | Square metre | 2.25
7 | Digging out a trench to arrange the pipeline, sized 50cm depth, 30cm width. Backfilling of ground. | Linear metre | 10
8 | Dismounting metal part of the roof of the school building. | Square metre | 890
9 | Adding wooden beams. (with 6/12cm section) | Cubic metre | 3.5
10 | Adding laths (with 5/5cm section) | Linear metre | 1780
11 | Arrangement of the roof with profiled steel sheets, also the place of joining - with flat steels. | Square metre | 1023.5
12 | Arrangement of pipeline - installation of a pump in the well and connecting to the water tank. | Linear metre | 28
13 | Wrapping the water tank and pipe. | Square metre | 8.2
14 | Arrangement of a metal cover on the mosaic top of the well. | Unit | 1
15 | Arrangement of mixer taps on the existing porcelain wash-stands. | Unit | 9
16 | El. works | Set | 1
17 | El. cable 2.5 mm.sq. | Linear metre | 38
18 | Automatic el. breaker of 25 A | Unit | 1
19 | Socket | Unit | 1
20 | Total
Name of the Company:
Representative:
Date:
Signature: