## Лист1
Village Akhakakhati Public School, Zugdidi, Samegrelo-Zemo Svaneti
Arrangement of new well and reservoir
The estimate is offered by ........
Budget
Please be aware that the prices provided in the table below must be split into material and labour work costs
# | Name of work | Dimens. | Quantity | Unit price | Total | Price of materials (Sum) | Price of labour works (sum)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
2 | Digging out ground to arrange a well, with 1,1 m diameter. | m | 5.5
3 | Removal of ground from the territory with a wheelbarrow. | Cubic metre | 5.23
4 | Placement of the concrete pipes sized 80cm diameter and 80cm height vertically in the excavated well. Arrangement of the well top. | Unit | 8
5 | Arrangement of sides with concrete | Cubic metre | 2.5
6 | Arrangement and concreting of mosaic top of the well. | Square metre | 2.25
7 | Digging out a trench to arrange the pipeline, sized 50cm depth, 30cm width. Backfilling of ground. | Linear metre | 110
8 | Placement of 1.5 t water tank (with double wall) in the roof of the school building. (Dismounting - installation of the part of the roof). | Unit | 1
9 | Arrangement of the pipeline (pipe D25); installation of a pump in the well and connecting it to the water tank in the roof. | Linear metre | 130
10 | Wrapping of water tank and pipe. | Square metre | 8.2
11 | Arrangement of a metal cover on the mosaic top of the well. | Unit | 1
12 | Non-standard metal cover. | Unit | 1
13 | Arrangement of mixer taps on the existing porcelain wash-stands. | Unit | 7
14 | Total
Name of the Company:
Representative:
Date:
Signature: