## INTERIOR DESIGN
PROJECT :TBILISI MALL - FULL UPGRADE
SUBJECT : BILL OF QUANTITIES
Item | Code | Description |  | Unit of Measure | Quantity | Real QTY | Unit Rate / Unit Price | Total Price | Remarks
1 |  | Preliminaries
1.1 |  | Mobilization and demobilization by the specialist contractor complete with all associated plant, material and labor |  | Ls | 1
1.2 |  | Deployment of manpower including technical staff up to the completion of all the scope of works |  | Months | TBA
1.3 |  | Submission of advance payment security, performance security, Insurances etc. |  | Ls | 1
1.4 |  | Supply & installation of site establishment in the nearby area (if permissible by the authorities) |  | Ls | 1
1.5 |  | Adherence with the local HSE policy procedures by all the working class including labor complete with the provision of PPE |  | Ls | 1
1.6 |  | Logistical requirements / transportation of staff and labor on a daily basis incase of non-availability of permanent site establishment (office) |  | Months | TBA
Sub-Total for Preliminaries
2 |  | Site Works (demolishing works)
2.1 |  | Removal of the existing flooring including borders for the corridors complete with all associated works. (All demolition works shall be strictly in accordance with the approved Method Statements). unit rate shall be inclusive of all associated works, labor, plant, eqpt and all the ancillaries without any exceptions. |  | m2 | 23197.94 | 15430 |  | 0
2.2 |  | Supply, installation and demolition of 900m long decorative type hoarding for work spaces, to be shifted as per requirements floorwise depending on it's requirements. Unit rate shall be inclusive of transportation, material handling and labor requirements for all of the above works. |  | Months | TBA
Sub-Total for Site Works
3 |  | Ventilation Grills Gypsum Cover
3.1 |  | Supply & installation of 11mm thick Fire rated resistance gypsum Cover for the Ventilation Grills along the periphery to provide it a gypsum look ('Boral / Knauf 'Make'); painted finish (RAL 9001), including suspension system, fixing Armstrong or equivalent, accessories, shadow gap and the like as Interior Designer Specification. Finishing: Paint White |  | m2 | 1226.4287 | 1543.8 |  | 0
3.2 |  | Removal of the existing diffusers complete with all associated works and ancillaries |  | Lm | 2100 | 2490 |  | 0
3.3 |  | Supply & installation of new diffusers as per the revised design complete with all associated works and accessories. | 200mm | Pcs |  | 110 |  | 0
|  |  | 250mm | Pcs |  | 92 |  | 0
Sub-Total for Gypsum Cover to A/c Grilles
4 |  | Column Cladding
4.1 |  | Allow for the supply & installation of Maximus Blu Del Belgio - Clay (cut to size) cladding including wall frame system complete with all associated works and accessories, shadow gap and the like. All in accordance with the specialist ID Specification. Material Specs Type : RAK Ceramics Mega Slab Collection Texture : Smooth, High Glossy Finish |  | m2 | 830.3 | 1265 |  | 0
4.2 |  | Allow for the supply & installation of 11mm thick Fire rated Gypsum board cladding to the columns |  | m2 | 1498.15 | 1115 |  | 0
4.3 |  | Allow for the supply & fixing of bronze finish metal plate dry fixed onto the gypsum board in accordance with the interior designer Specifications. |  | m | 1678.65 | 1800 |  | 0
4.4 |  | Allow for the supply & installation of LED strip lighting to specialist details and Architect's approval |  | m | 1191.3 | 1800 |  | 0
Sub-Total for Column Cladding
5 |  | Bronze Plate Cladding on horrizontal front panel
5.1 |  | Supply & fixing of bronze finish metal plate in Matt finish, fixed as per specialist details in accordance with Interior designer specification. Contractor to proceed for installation as per the approved Method statement |  | m | 911.0613 | 3504.08 |  | 0
5.2 |  | Supply & installation of LED light strip to specialist details and material specifications |  | m | 3504.082 | 3504.08 |  | 0
Sub-Total for Bronze Plate Cladding
6 |  | New Flooring
6.1 |  | Supply & installation of light weight self levelling screed; laid to falls and on existing concrete slab to receive floor finishes |  | m2 | 23197.94 | 15430 |  | 0
6.2 |  | Supply & installation of 12mm/18mmPorcelain Tile Versilia Marble (White) from RAK Ceramics Mega Slab Collection. size in 1200 x 600mm pieces smooth but in Matt finish |  | m2 | 18233.5808 | 12035.4 |  | 0 | The Tiles should be purchased 20% more
6.3 |  | Supply & installation of Maximus Blu Del Belgio (Clay) from RAK Ceramics - Mega Slab Collection cut to size in 600mm x 600mm sized 18 thick Porcelain Tile in smooth but matt finish. Clay color. |  | m2 | 4964.3592 | 3394.6 |  | 0 | The Tiles should be purchased 20% more
6.4 |  | Supply & installation Matt bronze finish metal plate as per the attached drawings specialist Interior designer details / Specifications |  | m | 93.78 | TBD |  |  | Need design of floors
6.5 |  | Supply & installation of access doors/cover to all fire hose reel boxes with cover to match column finish (Maximus Blue Del Belgio (Clay)) |  | Pcs |  | 50 |  | 0
Sub-Total for New Flooring
7 |  | Furniture for Corridors
7.1 |  | Supply & installation of seating/planter made of solid acrylic with compact surface anti-scratch CORIAN' / LG Macs Make OR pre-fabricated concrete dyed to match columns subject to Architect's approval |  | nrs |  | 6 |  | 0 | Need Project for Exact Amount of Furniture
7.2 |  | Supply & installation of rubbish bins |  | nrs
Sub-Total for Furniture for Corridors
8 |  | MEP & HVAC Works
8.1 |  | Modification of HVAC supply and extract from existing grille to linear slot diffuser or nozzle diffusers per latest Design |  | item |  | 202 |  | 0
8.2 |  | Supply & installation of fire hose boxes sinking into wall tiles and make access door with Fire hose sign on it. |  | item |  | 50 |  | 0
8.3 |  | Removing the fire hose boxes and plug the pipe end |  | item |  | 23 |  | 0
8.4 |  | Relocate the fire hose boxes |  | item |  | 6 |  | 0
8.5 |  | Arranging floor electrical outlets, with European inserts |  | item |  | 69 |  | 0
8.6 |  | Fire doors replacing |  | item |  | 12 |  | 0
Sub-Total for MEP + HVAC Works
9 |  | Miscellaneous
9.1 |  | Painting of all ornamental vertical elements located in the C-Atrium areas, re-paint and make good all bulkheads and balustrades as per the requirements (upon taking stock of the requirements based on site visit). Contractor to ascertain 'NO ADVERSE AFFECT' on the structure or the balustrade or the building as a result of this renovation exercise. |  | M2 |  | 690 |  | 0
9.2 |  | Allow for the supply & application of paint under and sides of the escalators in RAL 9001 (WHITE) to match the existing walls. |  | item |  | 18 |  | 0 | Cancel
9.3 |  | Allow for the painting of all circular columns in RAL 9001 (WHITE) to match the existing walls. |  | item |  |  |  |  | Cancel
9.4 |  | Allow for the removal of the existing column framing / metallic edge protection and painting of the columns in RAL 9001 (White) to Architect's details and as per approved Method Statement. |  | item |  |  |  |  | Cancel
9.5 |  | Remove the gold colored collumn cladding and install silver color cladding. The material-alucobond. |  | m2 |  | 822 |  | 0
9.6 |  | Replace damaged silver collor column alu,cobond cladding |  | m2 |  | 12 |  | 0
9.7 |  | Painting existing fire doors |  | item |  | 15 |  | 0
9.8 |  | Replace all ceiling access hatches |  | item |  | 141 |  | 0
Sub-Total for Miscellaneous Works
10 |  | Ceilings ans walls common areas (color RAL 9001)
10.1 |  | Paint the ceilings(GL+L1+L2+L3) |  | m2 |  | 14585 |  | 0
10.2 |  | Paint the walls (GL+L1+L2+L3) including skylights |  | m2 |  | 7479 |  | 0
10.3 |  | Paint the under balcony vertical panels (L1+L2+L3) |  | m2 |  | 3439 |  | 0
Contingency for additional materials & works
11 |  | Existing lighting
11.1 |  | Signify-Philips Essential SmartBright LED Downlight G2 DN027B LED20/NW D200 |  | PCS |  | 1584 |  | 0
11.2 |  | Led Projector - 240W-300W (Philips or Ledvance) |  | PCS |  | 80 |  | 0
11.3 |  | Led strip without driver |  | MT |  | 3000 |  | 0
11.4 |  | Dismantling and Installation Cost |  | PCS |  | 1 |  | 0
11.5 |  | Installation Infrastructure & Material |  | PCS |  | 1 |  | 0
|  | TOTAL | [5 empty] | 0
VAT
GRAND TOTAL
Note on H19: Mirian Kakabadze: Price for gypsum board, plastering materials and paints
Note on J26: Mirian Kakabadze: +200 USD for each position for custom clearance, port fee and transportation tiles from Poti To Tbilisi
Note on J41: Mirian Kakabadze: +200 USD for each position for custom clearance, port fee and transportation tiles from Poti To Tbilisi
Note on J42: Mirian Kakabadze: +200 USD for each position for custom clearance, port fee and transportation tiles from Poti To Tbilisi

## Breakdown
Description | Unit | Quantity
Bronze plate throught mall
Bronze plate (Depth x linear shop front lengh) (0.26mx3,504.08m) | sq.m | 911.0613
LED light strip | m | 3504.082
AC/ Gypsum cover
Gypsum (width x linear shop front lengh) (0.35x3,504.08) | sq.m | 1226.4287
Diffuser (approximatly 6no. Every 10m. To be checked as per MEP requirement) | no. | 2100
Column (4 levels total no. 361) |  |  | Mall Level | no. of columns | Mall Tile area (sq.m) | Shopfront linear meter (m)
Grey Tile (2.3sq.m per column. Total 2.3x361) | sq.m | 830.3 | level 1 | 84 | 6097 | 844.182
Water proof Gypsum board (4.15sq.m per column. Total 4.15 x 361) | sq.m | 1498.15 | level 2 | 128 | 6486.8 | 1039.9
Bronze plate (4.65m per column. Total 4.65x361)) | sq.m | 1678.65 | level 3 | 103 | 7301.5 | 974.8
LED light strip (3.3 linear meter (m) per column. Total 3.3x361) | m | 1191.3 | level 4 | 46 | 3312.64 | 645.2
Floor (full tile area 23,197.94sq.m) |  |  | Total | 361 | 23197.94 | 3504.082
White tile (78.6% of full tile area) | sq.m | 18233.5808
Grey Tile (21.4 % of full tile area) | sq.m | 4964.3592