## Manual Valve List 200
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material |  | PN (nominal pressure) | Connection | CONNECTION:
200 | 40 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | F = Flanged
200 | 100 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | FT = Flanged (tongue and groove)
200 | 100 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | BF = Between flanges
200 | 100 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | S = Screwed
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | W = Welded
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | MATERIAL MARKINGS:
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | SB= Stainless steel
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | CS = Carbon steel
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | PP = Plastic
200 | 65 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | GGG = Scheroidal steel
200 | 40 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | GS = Cast steel
200 | 40 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | MEDIUM:
200 | 40 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | WPR = Process water
200 | 150 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | WFR = Gland Seal Water
200 | 150 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F
200 | 150 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F

## Manual Valve List 305
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material |  | PN (nominal pressure) | Connection | CONNECTION:
305 | 50 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | F = Flanged
305 | 50 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | FT = Flanged (tongue and groove)
305 | 80 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | BF = Between flanges
305 | 80 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | S = Screwed
305 | 150 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | W = Welded
305 | 150 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | MATERIAL MARKINGS:
305 | 125 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | SB= Stainless steel
305 | 125 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | CS = Carbon steel
305 | 50 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | PP = Plastic
305 | 80 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | GGG = Scheroidal steel
305 | 80 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | GS = Cast steel
MEDIUM:
WPR = Process water
WFR = Gland Seal Water

## Manual Valve List 500
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material |  | PN (nominal pressure) | Connection | CONNECTION:
500 | 80 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | F = Flanged
500 | 25 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | FT = Flanged (tongue and groove)
BF = Between flanges
S = Screwed
W = Welded
MATERIAL MARKINGS:
SB= Stainless steel
CS = Carbon steel
PP = Plastic
GGG = Scheroidal steel
GS = Cast steel
MEDIUM:
WPR = Process water
WFR = Gland Seal Water

## Manual Valve List 600
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material |  | PN (nominal pressure) | Connection | CONNECTION:
600 | 250 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | F = Flanged
600 | 200 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | FT = Flanged (tongue and groove)
600 | 200 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | BF = Between flanges
600 | 250 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | S = Screwed
600 | 200 | CHECK VALVE | PWR | CS or SB | CS or SB | 10 | F | W = Welded
600 | 100 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | F | MATERIAL MARKINGS:
600 | 200 | CHECK VALVE | PWR | CS or SB | CS or SB | 10 | F | SB= Stainless steel
600 | 25 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | CS = Carbon steel
600 | 25 | BALL/PINCH VALVE | PWR | CS or SB | CS or SB | 10 | T | PP = Plastic
GGG = Scheroidal steel
GS = Cast steel
MEDIUM:
WPR = Process water
WFR = Gland Seal Water

## Control valves 200
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material | Actuator | Signal | Line Material | PN (nominal pressure) | Connection | CONNECTION:
200 | 180 | AUTOMATIC KNIFE GATE VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | F = Flanged
200 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | FT = Flanged (tongue and groove)
200 | 180 | AUTOMATIC KNIFE GATE VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | BF = Between flanges
200 | 150 | AUTOMATIC BALL/PINCH VALVE | PWR | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | F | S = Screwed
200 | 40 | AUTOMATIC BALL/PINCH VALVE | PWR | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | T | T = Thread
200 | 100 | AUTOMATIC BALL/PINCH VALVE | PWR | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | F | W = Welded
200 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | MATERIAL MARKINGS
200 | 600 | DART VALVE | SLS | CS (Rubber Lined) | Pneumatic + Handwheel | 4...20 mA Hart | - | - | - | SB = Stainless steel
200 | 600 | DART VALVE | SLS | CS (Rubber Lined) | Pneumatic + Handwheel | 4...20 mA Hart | - | - | - | CS = Carbon steel
CG = Galvanized Steel
PA = Plastic + Aluminum Composite
HR = Rubber
HP = HDPE
PU = Polyurethane
MEDIUM:
SLS= Slurry
PWR = Process water
FRW = Fresh Water
GLW = Gland Seal Water
LFR = Flocculent
INA = Air
RLI = Reagent Solution

## Control valves 305
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material | Actuator | Signal | Line Material | PN (nominal pressure) | Connection | CONNECTION:
305 | 80 | AUTOMATIC BALL/PINCH VALVE | PWR | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | F | F = Flanged
305 | 150 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | FT = Flanged (tongue and groove)
305 | 300 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 10 | F | BF = Between flanges
305 | 150 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | S = Screwed
305 | 250 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | F | T = Thread
305 | 250 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | F | W = Welded
305 | 300 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 10 | F | MATERIAL MARKINGS
305 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | SB = Stainless steel
305 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | CS = Carbon steel
305 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | CG = Galvanized Steel
305 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | PA = Plastic + Aluminum Composite
305 | 25 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | HR = Rubber
305 | 20 | SOLENOID CONTROL VALVE | GLW | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | CS | 16 | T | HP = HDPE
305 | 110 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | PU = Polyurethane
305 | 110 | SOLENOID CONTROL VALVE | SLS | CS or SB | Pneumatic + Handwheel | Bus Connection (ON/OFF) | HR | 10 | F | MEDIUM:
SLS= Slurry
PWR = Process water
FRW = Fresh Water
GLW = Gland Seal Water
LFR = Flocculent
INA = Air
RLI = Reagent Solution

## Control valves 500
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | Material | Actuator | Signal | Line Material | PN (nominal pressure) | Connection | CONNECTION:
500 | 25 | AUTOMATIC BALL VALVE | RLI | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | T | F = Flanged
500 | 25 | AUTOMATIC BALL VALVE | RLI | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | T | FT = Flanged (tongue and groove)
500 | 25 | AUTOMATIC BALL VALVE | RLI | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | T | BF = Between flanges
500 | 25 | AUTOMATIC BALL VALVE | RLI | CS or SB | Pneumatic + Handwheel | 4...20 mA Hart | CS | 10 | T | S = Screwed
T = Thread
W = Welded
MATERIAL MARKINGS
SB = Stainless steel
CS = Carbon steel
CG = Galvanized Steel
PA = Plastic + Aluminum Composite
HR = Rubber
HP = HDPE
PU = Polyurethane
MEDIUM:
SLS= Slurry
PWR = Process water
FRW = Fresh Water
GLW = Gland Seal Water
LFR = Flocculent
INA = Air
RLI = Reagent Solution

## Self Acting Regulators 200
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | PN | Line Material | Actuator | Pressure1 | Pressure2 | Connection | CONNECTION:
200 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | F = Flanged
200 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | FT = Flanged (tongue and groove)
BF = Between flanges
S = Screwed
T = Thread
W = Welded
MATERIAL MARKINGS
SB = Stainless steel
CS = Carbon steel
CG = Galvanized Steel
PA = Plastic + Aluminum Composite
HR = Rubber
HP = HDPE
PU = Polyurethane
MEDIUM:
SLS= Slurry
PWR = Process water
FRW = Fresh Water
GLW = Gland Seal Water
LFR = Flocculent
INA = Air
RLI = Reagent Solution

## Self Acting Regulators 305
List of valves
Dep. | DN (Nominal diameter) | Type / Code | Medium | PN | Line Material | Actuator | Pressure1 | Pressure2 | Connection | CONNECTION:
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | F = Flanged
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | FT = Flanged (tongue and groove)
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | BF = Between flanges
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | S = Screwed
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | T = Thread
305 | 25 | SELF CONTROL PRESSURE VALVE | GLW | 16 | CS | self acting | 16 | 1 | T | W = Welded
MATERIAL MARKINGS
SB = Stainless steel
CS = Carbon steel
CG = Galvanized Steel
PA = Plastic + Aluminum Composite
HR = Rubber
HP = HDPE
PU = Polyurethane
MEDIUM:
SLS= Slurry
PWR = Process water
FRW = Fresh Water
GLW = Gland Seal Water
LFR = Flocculent
INA = Air
RLI = Reagent Solution